## Slide 1: Critical Energy Infrastructure Security
Presentation by:
CSP008_C_E

## Slide 3: Cybersecurity in Emerging Technologies for the Energy Network Course Overview
Cascading Effects and Risk Assessment
T4.
T1.
Introduction to Critical Infrastructure Security and Challenges
T3.
Security and Resilience
T2.
Common Security Weaknesses and Threat Landscape
Regulations and Standards
T5.
T6.
Privacy, Ethical, Legal, and Social Implications

## Slide 4: T3: Cascading Effects and Risk Assessment
Cascading Effects & Interdependencies
Why “local” incidents in energy become “systemic” crises
Notes: CEI risk is rarely isolated.
Because energy sits at the center, small failures can propagate widely.
Today is about modelling propagation, not just naming dependencies.

## Slide 5: Learning Objectives
By the end of Topic 3, students can:
Explain dependencies vs interdependencies
Build and interpret an interdependency graph
Describe cascading effects mechanisms and propagation paths
Apply simple models (graph + stochastic intuition) to simulate cascade
Use cascade thinking to improve risk assessment and resilience planning
Notes: Make clear: you are giving them analytical tools to reason about systemic risk (even without heavy maths).

## Slide 6: Why Cascading Effects Matter in CEI
Energy failures propagate into:
  Telecom (connectivity)
  Healthcare (life-critical services)
  Transport (signals, charging, fuel logistics)
  Water (pumping, purification)
Cascades create non-linear impacts (small trigger → big consequences)
Notes: Emphasise the concept of amplification: the secondary impacts often dominate the incident’s total harm.

## Slide 7: Key Definitions
Dependency: A relies on B (one-way)
Interdependency: A and B mutually rely on each other (two-way)
Cascading effect: failure in one system causes failures in others through dependency chains
System boundary: what you include/exclude in analysis
Notes: Stress that “interdependency” is not just “many dependencies”—it implies feedback loops.

## Slide 8: Where Cascades Start
Common triggers:
Substation/feeder outage
Control centre / SCADA disruption
Communications failure
Malware/ransomware affecting IT that spills into OT
Extreme weather events
Notes: In real events, triggers can be ambiguous; we model scenarios rather than “the truth”.

## Slide 9: Cascade Mechanisms in Energy Systems
Propagation channels:
Physical power flow constraints (overload, instability)
Control system coupling (centralised control dependencies)
Communication dependencies (telemetry loss)
Human/organisational coupling (operator actions, coordination)
Notes: Cascades are not only technical. Human decision-making can accelerate or dampen them.

## Slide 10: Internal vs External Cascades
Internal cascade: within energy infrastructure (substations → feeders → generation balancing)
External cascade: energy → other critical infrastructures (telecom, healthcare, transport)
Often combined (internal cascade triggers external cascade)
Notes: Distinction between internal critical systems network and external network of other critical infrastructures.

## Slide 11: Internal vs External Effects
Internal cascade (within energy)
External cascade (energy  other CIs)
Telecom
Healthcare
Emergency response delay
Substation
Feeder
Load shedding
Spillover
Notes: Distinction between internal critical systems network and external network of other critical infrastructures.

## Slide 12: Interdependency Graph: The Core Tool
Represent infrastructures/systems as nodes
Dependencies as directed edges
Edge weights can represent strength/criticality
Enables reasoning about cascade paths
Notes: State that graphs let us reason in a structured way, and later feed simulation.

## Slide 13: Building an Interdependency Graph (Method)
Steps:
Define scope and boundary
List systems (nodes)
Identify dependency types (physical/cyber/geographic/logical)
Draw edges with direction
Add annotations: criticality, latency, backup options
Notes: A graph is only as good as its assumptions. Encourage documenting sources (operators, standards, incident reports).

## Slide 14: Dependency Types (Quick Refresher)
Physical (energy needed to run pumps)
Cyber (telecom needed for SCADA)
Geographic (same floodplain)
Logical (market rules, priority policies)
Notes: Remind them that dependencies are multi-layer, not just “power supply.”

## Slide 15: Cascade Patterns
Linear chain: A→B→C
Star dependency: many depend on one hub
Feedback loop: A↔B creates reinforcing failure
Common-cause: one event affects many nodes simultaneously
Notes: Feedback loops and common-cause events are why cascades become hard to control.

## Slide 16: Common Cascade Patterns
Linear chain
Feedback loop
Star dependency (hub)
Common-cause event
Notes: Feedback loops and common-cause events are why cascades become hard to control.

## Slide 17: Modelling Cascades: What We Need
Inputs:
Graph structure
Node states (normal/degraded/failed)
Failure propagation rules
Time steps / delays
Recovery rules and operator actions
Notes: Conceptual architecture of cascade simulation.
No heavy equations—focus on clear rules.

## Slide 18: Abstract Model of Threat → Effect
Threat impacts one component
Component failure reduces service capacity
Capacity reduction triggers dependent failures
Cascading continues until stable state or collapse
Notes: Abstract model describes effects of a threat on an individual system before considering the interdependency graph.

## Slide 19: Stochastic View (Why Probability Matters)
Real-world uncertainty:
Which component fails first?
How quickly will it be detected?
How effective are protections/backups?
Use probabilities for:
Failure propagation likelihood
Recovery times
Detection delays
Notes: Stochastic thinking gently: we don’t know the exact future; we estimate distributions and run scenarios.

## Slide 20: Simulation Concept (High Level)
Run multiple scenarios (“Monte Carlo intuition”)
Measure:
  Number of failed nodes
  Outage duration
  Cross-sector impact
Identify high-leverage controls (break cascade paths)
Notes: Simulation isn’t prediction; it is insight generation.

## Slide 21: Case Study Template (What Students Analyse)
For any event:
Trigger and initial failure
Internal cascade path
External cascade path
Control points that could break the cascade
Recovery dependencies

## Slide 22: Example Scenario: Substation Outage
Loss of substation → feeder outages
Telecom base stations lose power backup after X hours
Loss of comms affects emergency coordination
Hospitals shift to generators with limited fuel logistics
Notes: Walk the class through time: “t=0, t=2h, t=6h” to show delayed dependencies.

## Slide 23: Example Scenario: SCADA Telemetry Loss
Loss of telemetry → loss of situational awareness
Operators switch to manual / conservative operation
Reduced capacity causes rolling outages
External effects in transport & industry
Notes: Not all cascades are from physical damage—information loss alone can trigger conservative shutdowns.

## Slide 24: Measuring Cascade Severity
Possible metrics:
Load shed (MW) / customers affected
Duration to restore service
Number of dependent infrastructures affected
Safety incidents / near misses
Economic loss estimates
Notes: Choice of metric influences decisions (e.g., focusing only on MW misses healthcare impact).

## Slide 25: Finding Critical Nodes and Edges
Graph-based heuristics:
High out-degree nodes (many dependents)
High betweenness nodes (bridge points)
Single points of failure (no redundancy)
Weakly monitored edges (blind spots)
Notes: Translate to practice: “Which asset should we harden first to reduce systemic risk?”

## Slide 26: Breaking Cascades (Mitigation Strategies)
Segmentation between IT/OT + between regions
Redundancy and diversity (power + comms)
Backup power + fuel logistics planning
Manual fallback procedures and drills
Cross-sector coordination protocols
Notes: Cascade mitigation often looks like resilience engineering and operational planning.

## Slide 27: Cascades and Risk Assessment Integration
Segmentation between IT/OT + between regions
Redundancy and diversity (power + comms)
Backup power + fuel logistics planning
Manual fallback procedures and drills
Cross-sector coordination protocols
Notes: Risk is not independent; it is correlated through dependencies.

## Slide 28: Classroom Exercise (15–20 min)
In groups:
Pick a CEI asset (substation / control centre / EV charging backend)
Identify 5 dependent systems
Draw a directed interdependency graph
Mark top 2 cascade breakpoints
Notes: Students learn that “dependency discovery” is part engineering, part organisational knowledge.

## Slide 29: Classroom Exercise (15–20 min)
Choose a CEI asset:
List 5 dependent systems:
Draw directed edges and mark 2 top break points
Breakpoint 1:
Breakpoint 2:
Node B
Node A
Node C
Node D
Node E
Notes: Students learn that “dependency discovery” is part engineering, part organisational knowledge.

## Slide 30: Common Pitfalls
Overly broad graphs (unusable)
Overly narrow graphs (miss cascade)
Ignoring time delays and backups
Treating dependencies as static
Ignoring human/organisational couplings
Notes: Modelling is simplification—quality comes from intentional scope and documented assumptions.

## Slide 31: Wrap-up & Bridge to Topic 4
Interdependency graphs make cascade reasoning explicit
Cascades explain why CEI is a national/regional concern
Next: governance, standards, and regulation—how policy manages systemic risk
T1: Foundations
T2: Threats & Risks
T3: Cascading
T4: Regulation
T5: Resilience
T6: Ethics and Society
Notes: Close: “If cascades are systemic, then governance must also be systemic.”

## Slide 32: Thank you
Please send all questions to:
gehad@example.com