## Slide 1: Advanced Critical Infrastructure Security for Health
Presentation by:
CSP008_C_H

## Slide 3: Advanced Critical Infrastructure Security for Health Course Overview
T1.
Introduction to Critical Infrastructure Security
T3.
Regulations and Standards
T2.
Common Security Weaknesses and Threat Landscape

## Slide 4: T2: Common Security Weaknesses and Threat Landscape
Healthcare and Critical Infrastructure Perspective

## Slide 5: Learning Objectives
Students should be able to:
Identify the most common weaknesses in healthcare and CI environments
Explain why IT and OT/medical environments are hard to secure
Classify main threat actors and attack types
Connect vulnerabilities to likely operational consequences
Discuss mitigation priorities in realistic settings

## Slide 6: Why this topic matters
Healthcare and other critical sectors are attractive to attackers because they combine:
Sensitive data
Time-critical operations
Low tolerance for downtime
Heterogeneous and aging technologies
Large human attack surface

## Slide 7: IT Security vs OT / Clinical Security
Traditional IT security often prioritises:
Confidentiality
Fast patching
Frequent replacement cycles
Healthcare / OT / IoMT security often prioritises:
Availability
Safety
Stability
Certification constraints
Longer lifecycle equipment

## Slide 8: IT vs OT Security Priorities
IT
Confidentiality
Integrity
Frequent updates
Data-centric protection
Business systems focus
OT
Availability
Safety
Stability over patching
Process-centric protection
Physical operations focus

## Slide 9: The Expanding Attack Surface
Healthcare security now spans:
EHR platforms
Administrative IT
Cloud services
Medical devices
Imaging systems
IoMT and wearables
Remote access and telemedicine

## Slide 10: Legacy Systems as Structural Weaknesses
Legacy systems remain widespread because they are:
Expensive to replace
Difficult to certify
Operationally entrenched
Tied to old protocols and vendor support models
Weaknesses include:
No security by design
Unsupported operating systems
Hard-coded assumptions
Weak logging and update mechanisms

## Slide 11: Patch Management Constraints
In healthcare, patching is not merely technical. It is constrained by:
Clinical uptime requirements
Vendor approval cycles
Testing needs
Fear of disrupting validated workflows
Limited maintenance windows
This turns known vulnerabilities into long-lived exposure.

## Slide 12: Weak Authentication and Access Control
Common access-control weakness:
Shared accounts
Weak passwords
Lack of MFA
Excessive privileges
Infrequent account review
Poor role separation

## Slide 13: Flat Network vs Segmented Network
Flat Network
Segmented Network
Users
Servers
SCADA
HMI
PLC
Database
IoT Devices
Engineering WS
Users
IAM
Email/ Apps
IT Zone
DMZ
OT Zone: SCADA / HMI / PLC / Process
Firewall
Firewall
Jump Box
Historian

## Slide 14: Flat Networks and Poor Segmentation
Flat networks allow attackers to:
Move laterally
Discover unmanaged assets
Reach sensitive systems from compromised endpoints
Segmentation should separate:
Administrative IT
Clinical systems
Guest networks
Medical devices
Sensitive data services

## Slide 15: Insecure Protocols and Device Communication
Many healthcare and industrial-style environments still use protocols and device integrations that were designed for functionality, not security. Risks include:
Plaintext communication
Weak authentication
Poor integrity checks
Trust-by-location assumptions

## Slide 16: Medical Device Vulnerabilities
Medical device risk comes from:
Embedded software flaws
Weak update paths
Third-party components
Safety-security trade-offs
Interoperability dependencies

## Slide 17: Human Factors and Social Engineering
Human weakness include:
Phishing susceptibility
Stress-driven mistakes
Alert fatigue
Workarounds
Over-trust in emails, calls, or urgent requests

## Slide 18: Insider Threats
Insider threats may be:
Malicious
Negligent
Opportunistic
Untrained
Typical manifestations:
Improper record access
Unsafe file sharing
Credential misuse
Accidental disclosure
Device misuse

## Slide 19: Third-Party and Supply Chain Exposure
Attackers increasingly target:
Software vendors
MSPs and cloud providers
Device manufacturers
Integrators
Shared authentication systems
A secure hospital can still be exposed through an insecure supplier or update channel

## Slide 20: Supply Chain Attack Flow
Vendor / Supplier Software, firmware, service
Compromised Update Malicious code inserted
CI Operator Receives It Trusted delivery channel
Internal Compromise Lateral movement / disruption
Key Security Lesson
Trust inherited from supplier can become a direct attack path into critical infrastructure

## Slide 21: Lack of Visibility and Monitoring
Many organizations struggle with:
Incomplete asset inventories
Weak logging
Sparse telemetry from medical devices
Unclear ownership of devices
Siloed security and clinical teams
Without visibility, organizations cannot accurately detect, prioritize, or respond.

## Slide 22: Threat Actor Landscape
Main attacker categories:
Nation-states
Organized cybercrime
Insiders
Hacktivists
Opportunistic attackers

## Slide 23: Threat Actor Capability
Nation-States / APTs High capability, strategic goals
Organised Cybercrime Profit-driven, Ransomware, supply chain abuse
Insiders / Script Kiddies / Opportunistic Attackers Lower capability, higher volume, human-factor exploitation

## Slide 24: Nation-State and Advanced Persistent Threats
APT-style campaigns are characterized by:
Reconnaissance
Persistence
Multi-stage intrusion
Targeted objectives
Long dwell time
They may target:
Sensitive research
Public health systems
Government-linked infrastructure
Disruption during crisis periods

## Slide 25: Advanced Persistent Threat (APT) Lifecycle
1. Reconnaissance Target profiling OSINT collection Attack planning
2. Initial Access Phishing Exploits Credential abuse
7. Maintain Access Re-entry paths Cover tracks Long-term presence
3. Persistence Backdoors Scheduled tasks Privilege footholds
4. Lateral Movement Pivoting Internal discovery Privilege escalation
5. Command and Control Remote control Beaconing Stealth channels
6. Actions and Objectives Disruption Exfiltration Manipulation/sabotage

## Slide 26: Cybercrime and Ransomware
Ransomware remains one of the most disruptive threats because it can:
Encrypt data
Disable systems
Delay care
Force diversion of patients
Create financial and legal pressure

## Slide 27: Data Breaches and Privacy Harms
Data breaches affect:
Confidentiality of medical records
Trust in institutions
Legal exposure
Insurance and fraud risk
Long-term patient harm
The privacy dimension is central in healthcare because medical data is both sensitive and durable.

## Slide 28: Attack Paths in Healthcare
Typical attack chain:
Phishing or exposed service
Credential compromise
Lateral movement
Privilege escalation
Access to clinical or data systems
Extortion, exfiltration, or disruption

## Slide 29: Risk Consequences in Healthcare
Consequences include:
Care disruption
Diagnostic delays
Data integrity loss
Safety risks
Reputational damage
Regulatory consequences
Recovery cost

## Slide 30: Practical Defensive Priorities
Highest-value baseline measures:
Asset inventory
MFA
Segmentation
Patch governance
Offline backups
Monitoring and incident response
User awareness
Medical device lifecycle management

## Slide 31: Endpoint Protection in Healthcare
Endpoints include:
Workstations
Clinician laptops
Tablets
Nursing stations
Specialized terminals
Edge-connected devices

## Slide 32: Key Takeaways
Healthcare insecurity is structural, not accidental
Weaknesses often interact rather than appear alone
Threats target both data and operations
Human factors are central
Effective defense requires prioritization, visibility, and resilience

## Slide 33: Thank you
Please send all questions to:
gehad@example.com